## Order #
2975 Shawnee Ridge Court
Suwanee, GA 30024
Ph: (770) 623-8050
Fax: (770) 623-6404
[14 empty] | Order Date: |  |  |  | 2018-06-15 |  |  | Req'd Date:
CUSTOM TERMINAL UNIT ORDER | [26 empty] | Total Number of Pages
| Sold To: |  |  | Siemens Building Technologies, Inc | [14 empty] | Ship To:
1000 Deerfield Parkway
Buffalo Grove, IL 60089
Home Office Use Only |  |  | Acct. # : | B00150-60590000
P.O. #:
[9 empty] | Control Order No: | [9 empty] | Ship Via: |  |  |  |  | Account No:
Control Ship Date:
[19 empty] | Markings: |  | ACC Rio Grande
[19 empty] | Job No: |  | 44OP-239338 |  |  |  | MTO No:
|  | Type | [17 empty] | HOT |  |  |  | FOR OFFICE USE ONLY
Item # | Qty. |  | Model Number | [14 empty] | MAX | MIN | MAX | MIN | TAGGING | [5 empty] | Net
| 2 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | CFM | CFM | CFM | CFM | INFO. |  |  |  | PXY# |  | Each | CUSTOM NOTES
1 | 1 | LGS | L | G | S | E | C | 1 | 1 | R | 1 | 4 | B | B | B | T |  | 2200 | 2000 | 2200 | 2000 | LS-5-2-01 | [7 empty] | *Lab supply boxes should have the same heating & cooling CFM ranges
2 | 1 | LGS | L | G | S | E | C | 1 | 1 | R | 1 | 0 | F | B | B | T |  | 1035 | 765 | 1035 | 765 | LS-5-2-02 | [7 empty] | *Also ask question about high capacity coil?
3 |  | LGS | L | G | S | M | X | 1 | 1 | R | 1 | 0 | B | B | B | T |  | 825 | 825 | 825 | 825 | LS-5-2-03 | [6 empty] | DXR2.E17C-103B + DXA + GDE161.1P
4 |  | LGS | L | G | S | M | X | 1 | 1 | R | 0 | 6 | F | B | B | T |  | 300 | 300 | 300 | 300 | LS-5-2-04 | [6 empty] | DXR2.E17C-103B + DXA + GDE161.1P
5 |  | LGS | L | G | S | M | X | 1 | 1 | R | 0 | 6 | B | B | B | T |  | 200 | 200 | 200 | 200 | LS-5-2-05 | [6 empty] | DXR2.E17C-103B + DXA + GDE161.1P
6 |  | LGS | L | G | S | E | C | 1 | 1 | R | 1 | 0 | F | B | B | T |  | 1020 | 735 | 1020 | 735 | LS-5-2-06
7 |  | LGS | L | G | S | M | X | 1 | 1 | R | 1 | 4 | F | B | B | T |  | 2000 | 2000 | 2000 | 2000 | LS-5-2-07 | [6 empty] | DXR2.E17C-103B + DXA + GDE161.1P
8 |  | LGS | L | G | S | M | X | 1 | 1 | R | 1 | 2 | B | B | B | T |  | 1120 | 1120 | 1120 | 1120 | LS-5-3-01 | [6 empty] | DXR2.E17C-103B + DXA + GDE161.1P
9 |  | LGS | L | G | S | E | C | 1 | 1 | R | 1 | 4 | B | B | B | T |  | 2200 | 650 | 2200 | 650 | LS-5-3-02A
10 |  | LGS | L | G | S | E | C | 1 | 1 | R | 1 | 4 | F | B | B | T |  | 2200 | 650 | 2200 | 650 | LS-5-3-02B
11 |  | LGS | L | G | S | E | C | 1 | 1 | R | 1 | 4 | B | B | B | T |  | 2200 | 650 | 2200 | 650 | LS-5-3-02C
12 |  | LGS | L | G | S | E | C | 1 | 1 | R | 1 | 4 | F | B | B | T |  | 2200 | 650 | 2200 | 650 | LS-5-3-02D
13 |  | LGS | L | G | S | E | C | 1 | 1 | R | 1 | 4 | B | B | B | T |  | 2200 | 650 | 2200 | 650 | LS-5-3-02E
14 |  | LGS | L | G | S | E | C | 1 | 1 | R | 1 | 2 | B | B | B | T |  | 1500 | 1090 | 1500 | 1090 | LS-5-3-03
15 |  | LGS | L | G | S | M | X | 1 | 1 | R | 1 | 0 | B | B | B | T |  | 740 | 740 | 740 | 740 | LS-5-3-04 | [6 empty] | DXR2.E17C-103B + DXA + GDE161.1P
16 |  | LGS | L | G | S | E | C | 1 | 1 | R | 1 | 4 | F | B | B | T |  | 2000 | 935 | 2000 | 935 | LS-5-3-05A
17 |  | LGS | L | G | S | E | C | 1 | 1 | R | 1 | 4 | B | B | B | T |  | 2000 | 930 | 2000 | 930 | LS-5-3-05B
18 |  | LGS | L | G | S | M | X | 1 | 1 | R | 1 | 2 | F | B | B | T |  | 1220 | 1220 | 1220 | 1220 | LS-5-3-06 | [6 empty] | DXR2.E17C-103B + DXA + GDE161.1P
19 |  | LGE | L | G | E | G | 8 | 6 | 5 | R | 1 | 4 | A | B | S |  |  | 1995 | 1665 | - | - | GE-6-2-01
20 |  | LGE | L | G | E | 5 | 8 | 6 | 5 | R | 1 | 2 | A | B | S |  |  | 1230 | 630 | - | - | GE-6-2-02
21 |  | LGE | L | G | E | G | 8 | 6 | 5 | R | 1 | 2 | A | B | S |  |  | 1215 | 600 | - | - | GE-6-2-06
22 |  | LGE | L | G | E | M | X | 0 | 0 | R | 1 | 4 | A | B | S |  |  | 2150 | 2150 | - | - | GE-6-2-07 | [6 empty] | GDE161.1P
23 |  | LGE | L | G | E | M | X | 0 | 0 | R | 1 | 0 | A | B | S |  |  | 995 | 995 | - | - | GE-6-3-01 | [6 empty] | GDE161.1P
24 |  | LGE | L | G | E | G | 8 | 6 | 5 | R | 1 | 4 | A | B | S |  |  | 1740 | 670 | - | - | GE-6-3-03
25 |  | LGE | L | G | E | G | 8 | 6 | 5 | R | 1 | 0 | A | B | S |  |  | 740 | 0 | - | - | GE-6-3-05
26 |  | LGE | L | G | E | M | X | 0 | 0 | R | 1 | 2 | A | B | S |  |  | 1220 | 1220 | - | - | GE-6-3-06 | [6 empty] | GDE161.1P
27 |  | LE | L | G | E | E | O | 1 | 1 | R | 0 | 8 | B | A | S | T |  | 485 | 155 | - | - | LE-6-2-01
28 |  | LE | L | G | E | E | O | 1 | 1 | R | 0 | 8 | B | A | S | T |  | 485 | 155 | - | - | LE-6-2-02
29 |  | LE | L | G | E | M | X | 1 | 0 | R | 1 | 2 | A | B | S |  |  | 1320 | 1320 | - | - | LE-6-2-03 | [6 empty] | DXA + GDE161.1P
30 |  | LE | L | G | E | E | O | 1 | 1 | R | 0 | 8 | B | A | S | T |  | 485 | 155 | - | - | LE-6-2-06
31 |  | LE | L | G | E | M | X | 1 | 1 | R | 0 | 6 | B | A | S |  |  | 125 | 125 | - | - | LE-6-3-01 | [6 empty] | DXR2.E17C-103B + DXA + GDE161.1P
32 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 2 | B | A | S | T |  | 1050 | 320 | - | - | LE-6-3-02A
33 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 2 | B | A | S | T |  | 1050 | 320 | - | - | LE-6-3-02B
34 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 2 | B | A | S | T |  | 1050 | 320 | - | - | LE-6-3-02C
35 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 2 | B | A | S | T |  | 1050 | 320 | - | - | LE-6-3-02D
36 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 2 | B | A | S | T |  | 1050 | 320 | - | - | LE-6-3-02E
37 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 0 | B | A | S | T |  | 660 | 195 | - | - | LE-6-3-02F
38 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 2 | B | A | S | T |  | 1050 | 320 | - | - | LE-6-3-02G
39 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 2 | B | A | S | T |  | 1050 | 320 | - | - | LE-6-3-02H
40 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 2 | B | A | S | T |  | 1050 | 320 | - | - | LE-6-3-02I
41 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 2 | B | A | S | T |  | 1050 | 320 | - | - | LE-6-3-02J
42 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 2 | B | A | S | T |  | 1050 | 320 | - | - | LE-6-3-02K
43 |  | LE | L | G | E | E | O | 1 | 1 | R | 0 | 8 | B | A | S | T |  | 485 | 155 | - | - | LE-6-3-03A
44 |  | LE | L | G | E | E | O | 1 | 1 | R | 0 | 8 | B | A | S | T |  | 485 | 155 | - | - | LE-6-3-03B
45 |  | LE | L | G | E | E | O | 1 | 1 | R | 0 | 8 | B | A | S | T |  | 485 | 155 | - | - | LE-6-3-05A
46 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 2 | B | A | S | T |  | 1050 | 320 | - | - | LE-6-3-05B
47 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 2 | B | A | S | T |  | 1050 | 320 | - | - | LE-6-3-05C
48 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 0 | B | A | S | T |  | 785 | 240 | - | - | LE-6-3-05D
49 |  | LE | L | G | E | E | O | 1 | 1 | R | 1 | 0 | B | A | S | T |  | 785 | 240 | - | - | LE-6-3-05E
50 |  | LE | L | G | E | M | X | 1 | 0 | R | 0 | 8 | B | A | S | T |  | 350 | 350 | - | - | LE-7-2-05 | [6 empty] | DXA + GDE161.1P
51 |  | LE | L | G | E | M | X | 1 | 1 | R | 0 | 6 | B | A | S | T |  | 260 | 260 | - | - | LE-7-2-08 | [6 empty] | DXR2.E17C-103B + DXA + GDE161
52 |  | LE | L | G | E | M | X | 1 | 0 | R | 1 | 0 | B | A | S |  |  | 890 | 890 | - | - | LE-7-3-04 | [6 empty] | DXA + GDE161.1P
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
LAST ITEM ON LIST | [27 empty] | 0
COMMENTS:
Notes: | 1) |  | Model Number 1: See price sheets for model number procedures.
Use only the digits identified.
Per Siemens Quotation #:
Per Price Quotation #:
[22 empty] | Controls | Qty
UPS
UPS Red
FedEx Freight LTL