## VAV DATA INPUT
Instructions:
Fill: Controller, Actuator, Flow Transmitter (Transducer and Package are Automatic) | [17 empty] | *COIL CALC'S @ 55DEGF ENTERING AIR TEMP*
[6 empty] | S = SAME | [6 empty] | PICK
[6 empty] | R = OPPOSITE | [6 empty] | CLOSEST | [6 empty] | #REF!
TERMINAL | CONTROLLER | ACTUATOR | TRANSDUCER | FLOW | CONTROL | SHAFT/COIL | INLET | MAX | MAX | MIN | MIN | REHEAT | COIL | COIL | ACTUAL | Actual | SCHEDULED | ENT HW | LEAVE | SENSIBLE | LEAVING | COIL | COIL | UNIT | MAX | ACTUAL | MAX | ACTUAL | INCLUDE | PART |  | TO ADD SOUND ATTENUATOR | AE |  |  |  | TRANSM |  |  |  | PACKAGE |  |  | SIZE TO |  |  |  | COIL |  |  | COIL |  |  |  | COIL | COIL | COIL | ACTUAL | [5 empty] | ACTUAL | [5 empty] | COIL | [5 empty] | PICK | Part
ID | MODEL | MODEL | MODEL | TRANSMITTER | PACKAGE | ORIENTATION | DIAMETER | CFM | VEL (fpm) | CFM | VEL (fpm) | COIL? | GPM | CFM | MBH | BTU/H | MBH | SUP TEMP | AIR TEMP | BTU/H | WATER | ROWS | ORIENT. | SIZE | APD (inwc) | APD (inwc) | WPD (ftwc) | WPD (ftwc) | XFMR? | NUMBER |  | ADD 3 FOR 36" ATTENUATOR | LOOKUP |  |  |  | LOOKUP |  |  |  | LOOKUP |  |  | SQFT |  |  |  | CORRECTION |  |  | GPM |  |  |  | MBH | SLOPE | INTERCEPT | APD | CFM1 | APD1 |  |  |  | WPD | [5 empty] | PART | [5 empty] | XFMR | Number
LS-5-3-03 | [6 empty] | 14 | 1500 | 1403.1805 | 1090 | 1019.6445 | Yes | 7 | 1500 | 53.4207 | 53420.6707 | 57 | 140 | 85.9757 | 50180.6707 | 123.2731 | 2 | Left | 14 | 0.3 | 0.18685 | 10 | 6.4141 | No | LGS0014BBBO | 5.7 | ADD 5 FOR 60" ATTENUATOR | #REF! | #REF! |  |  | #REF! | #REF! |  |  | #REF! |  |  | #REF! |  |  |  | #REF! |  |  | #REF! | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | #REF! | #REF! | #REF! |  |  |  | #REF! | #REF! | OO | #REF! |  |  | #REF! | LGS | #REF! | #REF! | #REF! | #REF! | B | #REF!
LS-5-3-04 | [6 empty] | 12 | 740 | 942.6752 | 740 | 942.6752 | Yes | 3 | 740 | 28.4949 | 28494.9376 | 28 | 140 | 88.6543 | 26896.5376 | 131.0345 | 2 | Left | 12 | 0.3 | 0.094625 | 10 | 0.9333 | No | LGS0012BBBO | 2.8 |  | #REF! | #REF! |  |  | #REF! | #REF! |  |  | #REF! |  |  | #REF! |  |  |  | #REF! |  |  | #REF! | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | #REF! | #REF! | #REF! |  |  |  | #REF! | #REF! | OO | #REF! |  |  | #REF! | LGS | #REF! | #REF! | #REF! | #REF! | B | #REF!
LS-5-3-06 | [6 empty] | 14 | 1220 | 1141.2535 | 1220 | 1141.2535 | Yes | 5 | 1220 | 45.4769 | 45476.8944 | 46.5 | 140 | 87.5149 | 42841.6944 | 125.7194 | 2 | Left | 14 | 0.3 | 0.1236 | 10 | 3.2725 | No | LGS0014BBBO | 4.6 |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | 1.069 |  |  |  | 0.67 |  |  | 142 | LIST032 | 041 | LIST025 | 142 | 36730.3267 | -188884.6295 | 142 | 3400 | 0.96 | 041 | 600 | 0.24 | 142 | 10 | 13.09 | 041 | 4 | 7.13 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 14 | BB | B | O
LS-5-3-05A | [6 empty] | 16 | 2000 | 1432.6648 | 935 | 669.7708 | Yes | 9 | 2000 | 68.8101 | 68810.1023 | 76 | 140 | 84.8565 | 64490.1023 | 118.5033 | 2 | Left | 16 | 0.3 | 0.22521 | 10 | 11.6964 | No | LGS0016BBBO | 7.6 |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | 0.785 |  |  |  | 0.67 |  |  | 122 | LIST030 | 042 | LIST026 | 122 | 21436.7696 | -99095.4801 | 122 | 2500 | 1.08 | 042 | 600 | 0.51 | 122 | 10 | 10.37 | 042 | 4 | 1.79 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 12 | BB | B | O
LS-5-3-05B | [6 empty] | 16 | 2000 | 1432.6648 | 930 | 666.1891 | Yes | 9 | 2000 | 68.8101 | 68810.1023 | 76 | 140 | 84.8565 | 64490.1023 | 118.5033 | 2 | Left | 16 | 0.3 | 0.22521 | 10 | 11.6964 | No | LGS0016BBBO | 7.6 |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | 1.069 |  |  |  | 0.67 |  |  | 142 | LIST032 | 043 |  | 142 | 32526.3579 | -163276.0529 | 142 | 3400 | 0.96 | 043 | 600 | 0.77 | 142 | 10 | 13.09 | 043 | 6 | 6.01 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 14 | BB | B | O
LS-5-3-01 | [6 empty] | 14 | 1120 | 1047.7081 | 1120 | 1047.7081 | Yes | 4 | 1120 | 41.5508 | 41550.7741 | 42.5 | 140 | 87.3508 | 39131.5741 | 126.9561 | 2 | Left | 14 | 0.3 | 0.10417 | 10 | 2.0944 | No | LGS0014BBBO | 4.3 |  | 0 | #N/A | 540-104 | LIST001 | 0 | #N/A | 540-104 | LIST015 | #N/A | ABBD | R914 | 1.396 | 04 | 0.087 | 0.087266 | 0.67 | 120 | 0.5 | 162 | LIST034 | 044 |  | 162 | 46141.1213 | -248012.5173 | 162 | 4400 | 1.09 | 044 | 600 | 1.02 | 162 | 10 | 14.44 | 044 | 9 | 7.53 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 16 | BB | B | O
LS-5-3-02A | [6 empty] | 16 | 2200 | 1575.9312 | 650 | 465.616 | Yes | 10 | 2200 | 73.011 | 73011.0074 | 83.5 | 140 | 83.7285 | 68259.0074 | 117.247 | 2 | Left | 16 | 0.3 | 0.2725 | 10 | 14.44 | No | LGS0016BBBO | 8.4 |  | 0 | #N/A | 540-200 | LIST002 | 0 | #N/A | 540-200 | LIST015 | #N/A | ADBD | R916 | 1.396 | 06 | 0.196 | 0.19635 | 0.67 | 130 | 0.59 | 162 | LIST034 | 061 | LIST025 | 162 | 46141.1213 | -248012.5173 | 162 | 4400 | 1.09 | 061 | 600 | 0.24 | 162 | 10 | 14.44 | 061 | 4 | 7.13 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 16 | BB | B | O
LS-5-3-02B | [6 empty] | 16 | 2200 | 1575.9312 | 650 | 465.616 | Yes | 10 | 2200 | 73.011 | 73011.0074 | 83.5 | 140 | 83.7285 | 68259.0074 | 117.247 | 2 | Left | 16 | 0.3 | 0.2725 | 10 | 14.44 | No | LGS0016BBBO | 8.4 |  | 0 | #N/A | 540-517 | LIST003 | 0 | #N/A | 540-517 | LIST015 | #N/A | BBBD | W914 | 1.069 | 08 | 0.349 | 0.34907 | 0.67 | 140 | 0.67 | 142 | LIST032 | 062 | LIST026 | 142 | 29413.667 | -144499.7446 | 142 | 3400 | 0.96 | 062 | 600 | 0.51 | 142 | 10 | 13.09 | 062 | 4 | 1.79 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 14 | BB | B | O
LS-5-3-02C | [6 empty] | 16 | 2200 | 1575.9312 | 650 | 465.616 | Yes | 10 | 2200 | 73.011 | 73011.0074 | 83.5 | 140 | 83.7285 | 68259.0074 | 117.247 | 2 | Left | 16 | 0.3 | 0.2725 | 10 | 14.44 | No | LGS0016BBBO | 8.4 |  | 0 | #N/A | 540-717 | LIST004 | 0 | #N/A | 540-717 | LIST015 | #N/A | BDBD | W916 | 1.396 | 10 | 0.545 | 0.54542 | 0.67 | 150 | 0.75 | 162 | LIST034 | 063 |  | 162 | 47551.2438 | -256992.8306 | 162 | 4400 | 1.09 | 063 | 600 | 0.77 | 162 | 10 | 14.44 | 063 | 6 | 6.01 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 16 | BB | B | O
LS-5-3-02D | [6 empty] | 16 | 2200 | 1575.9312 | 650 | 465.616 | Yes | 10 | 2200 | 73.011 | 73011.0074 | 83.5 | 140 | 83.7285 | 68259.0074 | 117.247 | 2 | Left | 16 | 0.3 | 0.2725 | 10 | 14.44 | No | LGS0016BBBO | 8.4 |  | 0 | #N/A | 546-00360 | LIST005 | 0 | #N/A | 546-00360 | LIST015 | #N/A | CBBD | M914 | 1.396 | 12 | 0.785 | 0.7854 | 0.67 | 160 | 0.83 | 162 | LIST034 | 064 |  | 162 | 47551.2438 | -256992.8306 | 162 | 4400 | 1.09 | 064 | 600 | 1.02 | 162 | 10 | 14.44 | 064 | 9 | 7.53 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 16 | BB | B | O
LS-5-3-02E | [6 empty] | 16 | 2200 | 1575.9312 | 650 | 465.616 | Yes | 10 | 2200 | 73.011 | 73011.0074 | 83.5 | 140 | 83.7285 | 68259.0074 | 117.247 | 2 | Left | 16 | 0.3 | 0.2725 | 10 | 14.44 | No | LGS0016BBBO | 8.4 |  | 0 | #N/A | 546-00362 | LIST006 | 0 | #N/A | 546-00362 | LIST015 | #N/A | CDBD | M916 | 1.396 | 14 | 1.069 | 1.069 | 0.67 | 170 | 0.92 | 162 | LIST034 | 081 | LIST027 | 162 | 47551.2438 | -256992.8306 | 162 | 4400 | 1.09 | 081 | 1100 | 0.42 | 162 | 10 | 14.44 | 081 | 4.5 | 12.01 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 16 | BB | B | O
LS-5-2-07 | [6 empty] | 16 | 2000 | 1432.6648 | 2000 | 1432.6648 | Yes | 8 | 2000 | 65.7072 | 65707.1852 | 76 | 140 | 83.42 | 61387.1852 | 119.5376 | 2 | Left | 16 | 0.3 | 0.22521 | 10 | 9.2416 | No | LGS0016BBBO | 7.6 |  | 0 | #N/A | 550-767E | LIST007 | 0 | #N/A | 550-767EN | LIST016 | #N/A | DABD | L820 | 1.396 | 16 | 1.396 | 1.3963 | 0.67 | 180 | 1 | 162 | LIST034 | 082 | LIST028 | 162 | 47551.2438 | -256992.8306 | 162 | 4400 | 1.09 | 082 | 1100 | 0.87 | 162 | 10 | 14.44 | 082 | 7 | 7.14 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 16 | BB | B | O
LS-5-2-06 | [6 empty] | 12 | 1020 | 1299.3631 | 735 | 936.3057 | Yes | 5 | 1020 | 36.734 | 36734.0331 | 38.5 | 140 | 86.3461 | 34530.8331 | 128.4897 | 2 | Left | 12 | 0.3 | 0.17978 | 10 | 2.5925 | No | LGS0012BBBO | 3.9 |  | 0 | #N/A | 550-767F | LIST008 | 0 | #N/A | 550-767FN | LIST016 | #N/A | EABD | J820 | 1.396 | 18 | 2.6667 | =PI()*(CM19/2/12)^2 | 0.67 |  |  | 162 | LIST034 | 083 |  | 162 | 47551.2438 | -256992.8306 | 162 | 4400 | 1.09 | 083 | 1100 | 1.31 | 162 | 10 | 14.44 | 083 | 6 | 8.11 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 16 | BB | B | O
LS-5-2-05 | [6 empty] | 06 | 200 | 1020.4082 | 200 | 1020.4082 | Yes | 1 | 200 | 8.1985 | 8198.4884 | 7.5 | 140 | 90.956 | 7766.4884 | 137.4112 | 2 | Left | 06 | 0.3 | 0.056667 | 10 | 0.11188 | No | LGS0006BBBO | 0.8 |  | 0 | #N/A | 570-801PA | LIST009 | 0 | #N/A | 570-801PA | LIST017 | #N/A | FFBD | I875 | 1.396 |  |  |  | 0.67 |  |  | 162 | LIST034 | 084 |  | 162 | 42525.4281 | -225161.205 | 162 | 4400 | 1.09 | 084 | 1100 | 1.74 | 162 | 10 | 14.44 | 084 | 12 | 8.95 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 16 | BB | B | O
LS-5-2-04 | [6 empty] | 06 | 300 | 1530.6122 | 300 | 1530.6122 | Yes | 2 | 300 | 11.5805 | 11580.4699 | 11.5 | 140 | 88.7422 | 10932.4699 | 136.3558 | 2 | Left | 06 | 0.3 | 0.1275 | 10 | 0.4475 | No | LGS0006BBBO | 1.1 |  | 0 | #N/A | 570-803PA | LIST010 | 0 | #N/A | 570-803PA | LIST017 | #N/A | GFBA | O575 | 0.785 |  |  |  | 0.67 |  |  | 122 | LIST030 | 101 | LIST029 | 122 | 26246.5498 | -126997.5783 | 122 | 2500 | 1.08 | 101 | 1600 | 0.42 | 122 | 10 | 10.37 | 101 | 8 | 6.13 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 12 | BB | B | O
LS-5-2-01 | [6 empty] | 16 | 2200 | 1575.9312 | 2000 | 1432.6648 | Yes | 8 | 2000 | 65.7072 | 65707.1852 | 76 | 140 | 83.42 | 61387.1852 | 119.5376 | 2 | Left | 16 | 0.3 | 0.22521 | 10 | 9.2416 | No | LGS0016BBBO | 7.6 |  | 0 | #N/A | 570-805PA | LIST011 | 0 | #N/A | 570-805PA | LIST017 | #N/A | HBBA | O514 | 0.196 |  |  |  | 0.67 |  |  | 062 | LIST026 | 102 | LIST029 | 062 | 5865.8722 | -18842.7024 | 062 | 600 | 0.51 | 102 | 1600 | 0.87 | 062 | 4 | 1.79 | 102 | 8 | 12.73 | Yes | Left2 | OO | BB |  |  | No | LGS | 0 | 0 | 06 | BB | B | O
LS-5-2-02 | [6 empty] | 12 | 1035 | 1318.4713 | 765 | 974.5223 | Yes | 6 | 1035 | 38.0596 | 38059.6301 | 39.5 | 140 | 87.0487 | 35824.0301 | 128.0587 | 2 | Left | 12 | 0.3 | 0.18511 | 10 | 3.7332 | No | LGS0012BBBO | 3.9 |  | 0 | #N/A | 570-810PA | LIST012 | 0 | #N/A | 570-810PA | LIST017 | #N/A | HDBA | O516 | 0.196 |  |  |  | 0.67 |  |  | 062 | LIST026 | 103 |  | 062 | 7642.7078 | -26308.0591 | 062 | 600 | 0.51 | 103 | 1600 | 1.3 | 062 | 4 | 1.79 | 103 | 9 | 9.51 | Yes | Left2 | OO | BB | Right1 | EB | No | LGS | 0 | 0 | 06 | BB | B | O
LS-5-2-03 | [6 empty] | 12 | 825 | 1050.9554 | 825 | 1050.9554 | Yes | 4 | 825 | 31.8237 | 31823.7389 | 31.5 | 140 | 88.7169 | 30041.7389 | 129.9861 | 2 | Left | 12 | 0.3 | 0.11761 | 10 | 1.6592 | No | LGS0012BBBO | 3.1 |  | 0 | #N/A | 570-811PA | LIST013 | 0 | #N/A | 570-811PA | LIST017 | #N/A | NEBC | G917 | 1.396 |  |  |  | 0.67 |  |  | 162 | LIST034 | 104 |  | 162 | 42525.4281 | -225161.205 | 162 | 4400 | 1.09 | 104 | 1600 | 1.74 | 162 | 10 | 14.44 | 104 | 12 | 10.92 | Yes | Left2 | OO | BB | Right2 | FB | No | LGS | 0 | 0 | 16 | BB | B | O
[33 empty] | 0 | #N/A | NONE | LIST014 | 0 | #N/A | NONE | LIST018 | #N/A | NDBD | G916 | 0.785 |  |  |  | 0.67 |  |  | 122 | LIST030 | 121 | LIST030 | 122 | 27683.4684 | -135377.5576 | 122 | 2500 | 1.08 | 121 | 2500 | 0.52 | 122 | 10 | 10.37 | 121 | 10 | 11.22 | Yes | Left2 | OO | BB | Right3 | GH | No | LGS | 0 | 0 | 12 | BB | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | NCBC | G915 | 0.785 |  |  |  | 0.67 |  |  | 122 | LIST030 | 122 | LIST030 | 122 | 24264.8586 | -115449.7107 | 122 | 2500 | 1.08 | 122 | 2500 | 1.08 | 122 | 10 | 10.37 | 122 | 10 | 10.37 | Yes | Left2 | OO | BB | Right4 | HB | No | LGS | 0 | 0 | 12 | BB | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | NBBD | G914 | #N/A |  |  |  | #N/A |  |  |  | #N/A | 123 |  |  | #N/A | #N/A |  | #N/A | #N/A | 123 | 2500 | 1.62 |  | #N/A | #N/A | 123 | 10 | 14.42 | 0 |  | OO | #N/A | Left1 | AB | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | NFBD | G875 | #N/A |  |  |  | #N/A |  |  |  | #N/A | 124 |  |  | #N/A | #N/A |  | #N/A | #N/A | 124 | 2500 | 2.16 |  | #N/A | #N/A | 124 | 12 | 13.16 | 0 |  | OO | #N/A | Left2 | BB | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | NFBC | G872 | #N/A |  |  |  | #N/A |  |  |  | #N/A | 141 | LIST031 |  | #N/A | #N/A |  | #N/A | #N/A | 141 | 3400 | 0.46 |  | #N/A | #N/A | 141 | 10 | 16.8 | 0 |  | OO | #N/A | Left3 | CB | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | NAAC | G823 | #N/A |  |  |  | #N/A |  |  |  | #N/A | 142 | LIST032 |  | #N/A | #N/A |  | #N/A | #N/A | 142 | 3400 | 0.96 |  | #N/A | #N/A | 142 | 10 | 13.09 | 0 |  | OO | #N/A | Left4 | DB | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | NABD | G820 | #N/A |  |  |  | #N/A |  |  |  | #N/A | 143 |  |  | #N/A | #N/A |  | #N/A | #N/A | 143 | 3400 | 1.44 |  | #N/A | #N/A | 143 | 12 | 13.15 | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | NFBA | G575 | #N/A |  |  |  | #N/A |  |  |  | #N/A | 144 |  |  | #N/A | #N/A |  | #N/A | #N/A | 144 | 3400 | 1.92 |  | #N/A | #N/A | 144 | 21 | 16.53 | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | NDBA | G516 | #N/A |  |  |  | #N/A |  |  |  | #N/A | 161 | LIST033 |  | #N/A | #N/A |  | #N/A | #N/A | 161 | 4400 | 0.53 |  | #N/A | #N/A | 161 | 10 | 19 | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | NBBA | G514 | #N/A |  |  |  | #N/A |  |  |  | #N/A | 162 | LIST034 |  | #N/A | #N/A |  | #N/A | #N/A | 162 | 4400 | 1.09 |  | #N/A | #N/A | 162 | 10 | 14.44 | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | NGBD | G000 | #N/A |  |  |  | #N/A |  |  |  | #N/A | 163 |  |  | #N/A | #N/A |  | #N/A | #N/A | 163 | 4400 | 1.64 |  | #N/A | #N/A | 163 | 15 | 13.84 | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | JFBB | ECBE | #N/A |  |  |  | #N/A |  |  |  | #N/A | 164 |  |  | #N/A | #N/A |  | #N/A | #N/A | 164 | 4400 | 2.18 |  | #N/A | #N/A | 164 | 27 | 20.53 | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | NFBB | ECBO | #N/A |  |  |  | #N/A |  |  |  | #N/A | 181 | LIST035 |  | #N/A | #N/A |  | #N/A | #N/A | 181 | 8000 | 0.67 |  | #N/A | #N/A | 181 | 10 | 26.76 | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | IDBB | GCBF | #N/A |  |  |  | #N/A |  |  |  | #N/A | 182 | LIST035 |  | #N/A | #N/A |  | #N/A | #N/A | 182 | 8000 | 1.38 |  | #N/A | #N/A | 182 | 10 | 19.25 | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | KDBB | GCBG | #N/A |  |  |  | #N/A |  |  |  | #N/A | 183 |  |  | #N/A | #N/A |  | #N/A | #N/A | 183 | 8000 | 2.07 |  | #N/A | #N/A | 183 | 15 | 17.33 | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | MDBB | GCBH | #N/A |  |  |  | #N/A |  |  |  | #N/A | 184 |  |  | #N/A | #N/A |  | #N/A | #N/A | 184 | 8000 | 2.76 |  | #N/A | #N/A | 184 | 27 | 23.05 | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | LDBB | GCBN | #N/A |  |  |  | #N/A |  |  |  | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A |  |  |  |  | #N/A | #N/A |  |  |  | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | NDBB | GCBO | #N/A |  |  |  | #N/A |  |  |  | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A |  |  |  |  | #N/A | #N/A |  |  |  | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | IBBB | GXBF | #N/A |  |  |  | #N/A |  |  |  | #N/A |  |  |  | #N/A | #N/A |  | #N/A | #N/A |  |  |  |  | #N/A | #N/A |  |  |  | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | KBBB | GXBG | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | MBBB | GXBH | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | LBBB | GXBN | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A | NBBB | GXBO | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
|  |  | NONE |  | #N/A |  |  |  | #N/A |  | #N/A | No |  |  | #N/A | [8 empty] | 0 |  | #N/A |  | #N/A |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  | 0 | #N/A |  |  | 0 | #N/A | #N/A | 0 | #N/A | #N/A |  |  |  | 0 | #N/A | #N/A |  |  |  | No |  | OO | #N/A |  |  | 0 | LGS | #N/A | 0 | 0 | OO | B | O
[33 empty] | 0 | #N/A |  |  | 0 | #N/A |  |  | #N/A |  |  | #N/A |  |  |  | #N/A |  |  |  | #N/A |  |  |  | 0 | 0 |  | #N/A | #N/A |  |  |  |  | #N/A | #N/A |  |  |  | 0 |  | OO | #N/A |  |  | 0 | LGS | 0 | 0 | 0 | OO | B | O

## Vlookup
SCHEDULE - LAB-TRAC AIR TERMINAL BOX (HEATING WATER) - SIEMENS LEVEL 3
MARK | CONTROL TYPE | LAB SERVED | SERVED BY AHU/FAN | PRIMARY AIR |  |  | ROOM OFFSET (CFM) | VALVE SIZE | MAX S.P. IN. WG | HOT WATER COIL | [7 empty] | REMARKS
|  |  |  | MAX (CFM) | MIN (CFM) | NIGHT SETBACK (CFM) |  |  |  | CFM | EAT °F | LAT °F | MBH | EWT °F | LWT °F | GPM | MAX ROWS
GE-6-3-03 | VAV | CHEM. PREP | LEF-1A,1B,1C | 1740 | 670 | 560 | 550 | 14 | 0.2 | [8 empty] | SIEMENS, NOTE 1
LE-6-3-03A | VAV | CHEM. PREP | LEF-1A,1B,1C | 485 | 155 | 155 | 550 | 8 | 0.2 | [8 empty] | SIEMENS
LE-6-3-03B | VAV | CHEM. PREP | LEF-1A,1B,1C | 485 | 155 | 155 | 550 | 8 | 0.2 | [8 empty] | SIEMENS
LS-5-3-03 | VAV | CHEM. PREP | AHU-LABS-1 | 1500 | 1090 | 320 | 550 | 12 | 0.3 | 1500 | 55 | 90 | 57 | 140 | 120 | 5.7 | 2 | SIEMENS
LE-7-3-04 | VAV | CHEM. STOR LVL 3 | LEF-2A,2B | 890 | 890 | 890 | 150 | 10 | 0.2 | [8 empty] | SIEMENS
LS-5-3-04 | VAV | CHEM. STOR LVL 3 | AHU-LABS-1 | 740 | 740 | 740 | 150 | 10 | 0.3 | 740 | 55 | 90 | 28 | 140 | 120 | 2.8 | 2 | SIEMENS
GE-6-3-06 | VAV | GEN. CHEM CLRM | LEF-1A,1B,1C | 1220 | 1220 | 550 | 0 | 12 | 0.2 | [8 empty] | SIEMENS, NOTE 1
LS-5-3-06 | VAV | GEN. CHEM CLRM | AHU-LABS-1 | 1220 | 1220 | 550 | 0 | 12 | 0.3 | 1220 | 55 | 90 | 46.5 | 140 | 120 | 4.6 | 2 | SIEMENS
GE-6-3-05 | VAV | GEN. CHEM LAB | LEF-1A,1B,1C | 740 | 0 | 0 | 150 | 10 | 0.2 | [8 empty] | SIEMENS, NOTE 1
LE-6-3-05A | VAV | GEN. CHEM LAB | LEF-1A,1B,1C | 485 | 155 | 155 | 150 | 8 | 0.2 | [8 empty] | SIEMENS
LE-6-3-05B | VAV | GEN. CHEM LAB | LEF-1A,1B,1C | 1050 | 320 | 320 | 150 | 12 | 0.2 | [8 empty] | SIEMENS
LE-6-3-05C | VAV | GEN. CHEM LAB | LEF-1A,1B,1C | 1050 | 320 | 320 | 150 | 12 | 0.2 | [8 empty] | SIEMENS
LE-6-3-05D | VAV | GEN. CHEM LAB | LEF-1A,1B,1C | 785 | 240 | 240 | 150 | 10 | 0.2 | [8 empty] | SIEMENS
LE-6-3-05E | VAV | GEN. CHEM LAB | LEF-1A,1B,1C | 785 | 240 | 240 | 150 | 10 | 0.2 | [8 empty] | SIEMENS
LS-5-3-05A | VAV | GEN. CHEM LAB | AHU-LABS-1 | 2000 | 935 | 565 | 150 | 14 | 0.3 | 2000 | 55 | 90 | 76 | 140 | 120 | 7.6 | 2 | SIEMENS
LS-5-3-05B | VAV | GEN. CHEM LAB | AHU-LABS-1 | 2000 | 930 | 560 | 150 | 14 | 0.3 | 2000 | 55 | 90 | 76 | 140 | 120 | 7.6 | 2 | SIEMENS
GE-6-3-01 | VAV | ORG. CHEM CLRM | LEF-1A,1B,1C | 995 | 995 | 400 | 0 | 10 | 0.2 | [8 empty] | SIEMENS, NOTE 1
LE-6-3-01 | VAV | ORG. CHEM CLRM | LEF-1A,1B,1C | 125 | 125 | 125 | 0 | 6 | 0.2 | [8 empty] | SIEMENS
LS-5-3-01 | VAV | ORG. CHEM CLRM | AHU-LABS-1 | 1120 | 1120 | 525 | 0 | 12 | 0.3 | 1120 | 55 | 90 | 42.5 | 140 | 120 | 4.3 | 2 | SIEMENS
LE-6-3-02A | VAV | ORG. CHEM LAB | LEF-1A,1B,1C | 1050 | 320 | 320 | 150 | 12 | 0.2 | [8 empty] | SIEMENS
LE-6-3-02B | VAV | ORG. CHEM LAB | LEF-1A,1B,1C | 1050 | 320 | 320 | 150 | 12 | 0.2 | [8 empty] | SIEMENS
LE-6-3-02C | VAV | ORG. CHEM LAB | LEF-1A,1B,1C | 1050 | 320 | 320 | 150 | 12 | 0.2 | [8 empty] | SIEMENS
LE-6-3-02D | VAV | ORG. CHEM LAB | LEF-1A,1B,1C | 1050 | 320 | 320 | 150 | 12 | 0.2 | [8 empty] | SIEMENS
LE-6-3-02E | VAV | ORG. CHEM LAB | LEF-1A,1B,1C | 1050 | 320 | 320 | 150 | 12 | 0.2 | [8 empty] | SIEMENS
LE-6-3-02F | VAV | ORG. CHEM LAB | LEF-1A,1B,1C | 660 | 195 | 195 | 150 | 10 | 0.2 | [8 empty] | SIEMENS
LE-6-3-02G | VAV | ORG. CHEM LAB | LEF-1A,1B,1C | 1050 | 320 | 320 | 150 | 12 | 0.2 | [8 empty] | SIEMENS
LE-6-3-02H | VAV | ORG. CHEM LAB | LEF-1A,1B,1C | 1050 | 320 | 320 | 150 | 12 | 0.2 | [8 empty] | SIEMENS
LE-6-3-02I | VAV | ORG. CHEM LAB | LEF-1A,1B,1C | 1050 | 320 | 320 | 150 | 12 | 0.2 | [8 empty] | SIEMENS
LE-6-3-02J | VAV | ORG. CHEM LAB | LEF-1A,1B,1C | 1050 | 320 | 320 | 150 | 12 | 0.2 | [8 empty] | SIEMENS
LE-6-3-02K | VAV | ORG. CHEM LAB | LEF-1A,1B,1C | 1050 | 320 | 320 | 150 | 12 | 0.2 | [8 empty] | SIEMENS
LS-5-3-02A | VAV | ORG. CHEM LAB | AHU-LABS-1 | 2200 | 650 | 650 | 150 | 14 | 0.3 | 2200 | 55 | 90 | 83.5 | 140 | 120 | 8.4 | 2 | SIEMENS
LS-5-3-02B | VAV | ORG. CHEM LAB | AHU-LABS-1 | 2200 | 650 | 650 | 150 | 14 | 0.3 | 2200 | 55 | 90 | 83.5 | 140 | 120 | 8.4 | 2 | SIEMENS
LS-5-3-02C | VAV | ORG. CHEM LAB | AHU-LABS-1 | 2200 | 650 | 650 | 150 | 14 | 0.3 | 2200 | 55 | 90 | 83.5 | 140 | 120 | 8.4 | 2 | SIEMENS
LS-5-3-02D | VAV | ORG. CHEM LAB | AHU-LABS-1 | 2200 | 650 | 650 | 150 | 14 | 0.3 | 2200 | 55 | 90 | 83.5 | 140 | 120 | 8.4 | 2 | SIEMENS
LS-5-3-02E | VAV | ORG. CHEM LAB | AHU-LABS-1 | 2200 | 650 | 650 | 150 | 14 | 0.3 | 2200 | 55 | 90 | 83.5 | 140 | 120 | 8.4 | 2 | SIEMENS
SCHEDULE - LAB-TRAC AIR TERMINAL BOX (HEATING WATER) - SIEMENS LEVEL 2
MARK | CONTROL TYPE | LAB SERVED | SERVED BY AHU/FAN | PRIMARY AIR |  |  | ROOM OFFSET (CFM) | VALVE SIZE | MAX S.P. IN. WG | HOT WATER COIL | [7 empty] | REMARKS
|  |  |  | MAX (CFM) | MIN (CFM) | NIGHT SETBACK (CFM) |  |  |  | CFM | EAT °F | LAT °F | MBH | EWT °F | LWT °F | GPM | MAX ROWS
GE-6-2-07 | VAV | AP BIO LAB | LEF-1A,1B,1C | 2150 | 2150 | 965 | 150 | 14 | 0.2 | [8 empty] | SIEMENS, NOTE 1
LS-5-2-07 | VAV | AP BIO LAB | AHU-LABS-1 | 2000 | 2000 | 815 | 150 | 14 | 0.3 | 2000 | 55 | 90 | 76 | 140 | 120 | 7.6 | 2 | SIEMENS
GE-6-2-06 | VAV | AP BIO PREP | LEF-1A,1B,1C | 1215 | 600 | 435 | 350 | 12 | 0.2 | [8 empty] | SIEMENS, NOTE 1
LE-6-2-06 | VAV | AP BIO PREP | LEF-1A,1B,1C | 485 | 155 | 155 | 350 | 8 | 0.2 | [8 empty] | SIEMENS
LS-5-2-06 | VAV | AP BIO PREP | AHU-LABS-1 | 1020 | 735 | 240 | 350 | 10 | 0.3 | 1020 | 55 | 90 | 38.5 | 140 | 120 | 3.9 | 2 | SIEMENS
LE-7-2-08 | VAV | CHEM. STOR LVL 1 | LEF-2A,2B | 260 | 260 | 260 | 125 | 6 | 0.2 | [8 empty] | SIEMENS
LE-7-2-05 | VAV | CHEM. STOR LVL 2 | LEF-2A,2B | 350 | 350 | 350 | 150 | 8 | 0.2 | [8 empty] | SIEMENS
LS-5-2-05 | VAV | CHEM. STOR LVL 2 | AHU-LABS-1 | 200 | 200 | 200 | 150 | 6 | 0.3 | 200 | 55 | 90 | 7.5 | 140 | 120 | 0.8 | 2 | SIEMENS
LS-5-2-04 | VAV | CORR LVL 2 | AHU-LABS-1 | 300 | 300 | 300 | -300 | 6 | 0.3 | 300 | 55 | 90 | 11.5 | 140 | 120 | 1.1 | 2 | SIEMENS
GE-6-2-01 | VAV | GEN. BIO LAB | LEF-1A,1B,1C | 1995 | 1665 | 810 | 150 | 14 | 0.2 | [8 empty] | SIEMENS, NOTE 1
LE-6-2-01 | VAV | GEN. BIO LAB | LEF-1A,1B,1C | 485 | 155 | 155 | 150 | 8 | 0.2 | [8 empty] | SIEMENS
LS-5-2-01 | VAV | GEN. BIO LAB | AHU-LABS-1 | 2000 | 2000 | 815 | 150 | 14 | 0.3 | 2000 | 55 | 90 | 76 | 140 | 120 | 7.6 | 2 | SIEMENS
GE-6-2-02 | VAV | GEN. BIO PREP | LEF-1A,1B,1C | 1230 | 630 | 435 | 350 | 12 | 0.2 | [8 empty] | SIEMENS, NOTE 1
LE-6-2-02 | VAV | GEN. BIO PREP | LEF-1A,1B,1C | 485 | 155 | 155 | 350 | 8 | 0.2 | [8 empty] | SIEMENS
LS-5-2-02 | VAV | GEN. BIO PREP | AHU-LABS-1 | 1035 | 765 | 240 | 350 | 10 | 0.3 | 1035 | 55 | 90 | 39.5 | 140 | 120 | 3.9 | 2 | SIEMENS
LE-6-2-03 | VAV | STOR DRY GOODS | LEF-1A,1B,1C | 1320 | 1320 | 390 | 150 | 12 | 0.2 | [8 empty] | SIEMENS
LS-5-2-03 | VAV | STOR DRY GOODS | AHU-LABS-1 | 825 | 825 | 240 | 150 | 10 | 0.3 | 825 | 55 | 90 | 31.5 | 140 | 120 | 3.1 | 2 | SIEMENS

## Sheet5 (hidden)
TRANSD | CTRL |  |  | ACT |  |  | TRANSD |  |  | TRANSM |  |  | CTRL
LOOKUP | TABLE |  |  | TABLE |  |  | TABLE |  |  | TABLE |  |  | PACKAGE
540-104 | #REF! | 540-104 | A | #REF! | 546-00020 | A | #REF! | 545-113 | A | #REF! | 550-818B | A | #REF!
540-200 | #REF! | 540-200 | B | #REF! | GDE131.1P | B | #REF! | NONE | B | #REF! | 550-819B | B | #REF!
540-517 | #N/A | 540-517 | C | #N/A | GDE161.1P | C | #N/A |  |  | #N/A | 590-780 | C | #N/A
540-717 | #N/A | 540-717 | D | #N/A | GMA131.1P | D | #N/A |  |  | #N/A | NONE | D | #N/A
546-00360 | #N/A | 546-00360 | E | #N/A | GMA161.1P | E | #N/A |  |  | #N/A |  |  | #N/A
546-00362 | #N/A | 546-00362 | F | #N/A | GNP191.1P | F | #N/A |  |  | #N/A |  |  | #N/A
550-767E | #N/A | 550-767E | G | #N/A | NONE | G | #N/A |  |  | #N/A |  |  | #N/A
550-767F | #N/A | 550-767F | H | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
570-801PA | #N/A | 570-801PA | I | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
570-803PA | #N/A | 570-803PA | J | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
570-805PA | #N/A | 570-805PA | K | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
570-810PA | #N/A | 570-810PA | L | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
570-811PA | #N/A | 570-811PA | M | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
NONE | #N/A | NONE | N | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  | - | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | B |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A
| #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A |  |  | #N/A

## LOOKUP TABLES (hidden)
CONTROLLER MODELS | 540-104 AE LIST (LIST001) | TRANSM LIST (LIST015) |  |  | 540-104 GDE
540-104 | GDE131.1P | NONE |  |  | R914
540-200 | GMA131.1P
540-517 |  | TRANSM LIST (LIST016) |  |  | 540-104 GMA
540-717 | 540-200 AE LIST (LIST002) | 550-818B |  |  | R916
546-00360 | GDE131.1P
546-00362 | GMA131.1P | TRANSM LIST (LIST017)
550-767EN |  | 550-819B
550-767FN | 540-517 AE LIST (LIST003)
570-801PA | GDE131.1P | TRANSM LIST (LIST018)
570-803PA | GMA131.1P | 550-818B | ACTUATOR MODELS | FLOW TRANSMITTER
570-805PA |  | 550-819B | 546-00020 | 550-818B
570-810PA | 540-717 AE LIST (LIST004) | 590-780 | GDE131.1P | 550-819B
570-811PA | 546-00020 | NONE | GDE161.1P | 590-780
NONE |  |  | GMA131.1P | NONE
| 546-00360 AE LIST (LIST005) |  | GMA161.1P
| 546-00020 | Shaft/Coil Orientation (LIST019) | GNP191.1P
|  | R | NONE
| 546-00362 AE LIST (LIST006) | S
GNP191.1P
Size List (LIST020)
| 550-767EN AE LIST (LIST007) | 04
| GNP191.1P | 06
08
| 550-767FN AE LIST (LIST008) | 10
| GDE131.1P | 12
| GMA131.1P | 14
16
| 570-801PA AE LIST (LIST009) | 18
| GDE131.1P |  | 540-104 | A
| GMA131.1P | Coil Rows (LIST021) | 540-200 | B
|  | 1 | 540-517 | C
| 570-803PA AE LIST (LIST010) | 2 | 540-717 | D
| GNP191.1P | 3 | 546-00360 | E
|  | 4 | 546-00362 | F
| 570-805PA AE LIST (LIST011) |  | 550-767EN | G
| GDE131.1P | Coil Yes/No (LIST022) | 550-767FN | H
| GMA131.1P | Yes | 570-801PA | I
|  | No | 570-803PA | J
| 570-810PA AE LIST (LIST012) |  | 570-805PA | K
| GDE131.1P | Coil Orientation (LIST023) | 570-810PA | L
| GMA131.1P | Left | 570-811PA | M
|  | Right | NONE | N
570-811PA AE LIST (LIST013)
| GDE131.1P | Ent HW Temp (LIST024)
| GMA131.1P | 120
130
| NONE AE LIST (LIST014) | 140
| 546-00020 | 150
| GDE131.1P | 160
| GDE161.1P | 170
| GMA131.1P | 180
GMA161.1P
| GNP191.1P | SIZE 04,06 1ROW (LIST025)
| NONE | 0.5
0.75
1
1.5
2
2.5
3
4
SIZE 04,06 2ROW (LIST026)
0.6
0.75
1
1.5
2
2.5
3
4
SIZE 08 1ROW (LIST027)
0.5
1
1.5
2
2.5
3
4
4.5
SIZE 08 2ROW (LIST028)
0.6
1
2
3
4
5
6
7
SIZE 10 1,2ROWS (LIST029)
1
2
3
4
5
6
7
8
SIZE 12 1,2ROWS (LIST030)
2
3
4
5
6
7
9
10
SIZE 14 1ROW (LIST031)
1
2
3
4
5
6
8
10
SIZE 14 2ROW (LIST032)
1.5
3
4
5
6
7
9
10
SIZE 16 1ROW (LIST033)
2
3
4
5
6
7
8
10
SIZE 16 2ROW (LIST034)
2
3
4
5
6
7
9
10
SIZE 18 1,2ROWS (LIST035)
2
3
4
5
6
7
8
10

## COIL DATA
SIZE 04,06 | [7 empty] | y= a*ln(x) + b
1ROW | CFM
GPM | 75 | 100 | 200 | 300 | 400 | 500 | 600 | SLOPE | INTERCEPT | COIL
0.5 | 4400 | 5000 | 6800 | 7900 | 8600 | 9200 | 9600 | 2545.3206 | -6652.2149 | CALC
0.75 | 4600 | 5400 | 7400 | 8800 | 9700 | 10500 | 11000 | 3110.7088 | -8921.2349 | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1 | 4700 | 5600 | 7800 | 9300 | 10400 | 11200 | 11900 | 3465.4946 | -10373.9635 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1.5 | 4900 | 5800 | 8300 | 9900 | 11200 | 12200 | 13000 | 3904.0006 | -12158.9142 | 3 | 142 | 7 | A119:A126 | I119:I126 | J119:J126 | 36730.3267 | -188884.6295
2 | 5000 | 5900 | 8500 | 10300 | 11600 | 12700 | 13600 | 4142.773 | -13144.5381 | 4 | 122 | 3 | A93:A100 | I93:I100 | J93:J100 | 21436.7696 | -99095.4801
2.5 | 5000 | 6000 | 8700 | 10500 | 11900 | 13100 | 14000 | 4324.2937 | -13915.0505 | 5 | 142 | 5 | A119:A126 | I119:I126 | J119:J126 | 32526.3579 | -163276.0529
3 | 5000 | 6000 | 8800 | 10700 | 12100 | 13300 | 14300 | 4461.5889 | -14527.8613 | 6 | 162 | 9 | A145:A152 | I145:I152 | J145:J152 | 46141.1213 | -248012.5173 | 041 | A4:A11 | I4:I11 | J4:J11
4 | 5100 | 6100 | 8900 | 10900 | 12400 | 13700 | 14700 | 4617.5528 | -15157.7097 | 7 | 162 | 9 | A145:A152 | I145:I152 | J145:J152 | 46141.1213 | -248012.5173 | 042 | A15:A22 | I15:I22 | J15:J22
[10 empty] | 8 | 142 | 4 | A119:A126 | I119:I126 | J119:J126 | 29413.667 | -144499.7446 | 043
2ROW | CFM | [8 empty] | 9 | 162 | 10 | A145:A152 | I145:I152 | J145:J152 | 47551.2438 | -256992.8306 | 044
GPM | 75 | 100 | 200 | 300 | 400 | 500 | 600 | SLOPE | INTERCEPT | 10 | 162 | 10 | A145:A152 | I145:I152 | J145:J152 | 47551.2438 | -256992.8306 | 061 | A4:A11 | I4:I11 | J4:J11
0.6 | 6300 | 7400 | 10500 | 12300 | 13500 | 14400 | 15100 | 4291.6872 | -12264.1565 | 11 | 162 | 10 | A145:A152 | I145:I152 | J145:J152 | 47551.2438 | -256992.8306 | 062 | A15:A22 | I15:I22 | J15:J22
0.75 | 6500 | 7800 | 11200 | 13300 | 14800 | 15900 | 16800 | 4989.164 | -15131.6166 | 12 | 162 | 10 | A145:A152 | I145:I152 | J145:J152 | 47551.2438 | -256992.8306 | 063
1 | 6700 | 8100 | 12000 | 14500 | 16300 | 17700 | 18800 | 5865.8722 | -18842.7024 | 13 | 162 | 10 | A145:A152 | I145:I152 | J145:J152 | 47551.2438 | -256992.8306 | 064
1.5 | 7000 | 8500 | 13000 | 16000 | 18200 | 20000 | 21400 | 6976.1462 | -23525.0414 | 14 | 162 | 8 | A145:A152 | I145:I152 | J145:J152 | 42525.4281 | -225161.205 | 081 | A30:A37 | I30:I37 | J30:J37
2 | 7200 | 8800 | 13600 | 16900 | 19400 | 21400 | 23000 | 7642.7078 | -26308.0591 | 15 | 122 | 5 | A93:A100 | I93:I100 | J93:J100 | 26246.5498 | -126997.5783 | 082 | A41:A48 | I41:I48 | J41:J48
2.5 | 7300 | 8900 | 13900 | 17500 | 20200 | 22400 | 24200 | 8169.5327 | -28621.9714 | 16 | 062 | 1 | A15:A22 | I15:I22 | J15:J22 | 5865.8722 | -18842.7024 | 083
3 | 7300 | 9000 | 14200 | 17900 | 20700 | 23100 | 25000 | 8530.1328 | -30206.7017 | 17 | 062 | 2 | A15:A22 | I15:I22 | J15:J22 | 7642.7078 | -26308.0591 | 084
4 | 7400 | 9100 | 14500 | 18400 | 21500 | 24000 | 26100 | 9009.9671 | -32304.8363 | 18 | 162 | 8 | A145:A152 | I145:I152 | J145:J152 | 42525.4281 | -225161.205 | 101 | A56:A63 | I56:I63 | J56:J63
[10 empty] | 19 | 122 | 6 | A93:A100 | I93:I100 | J93:J100 | 27683.4684 | -135377.5576 | 102 | A67:A74 | I67:I74 | J67:J74
[10 empty] | 20 | 122 | 4 | A93:A100 | I93:I100 | J93:J100 | 24264.8586 | -115449.7107 | 103
[10 empty] | 21 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 104
[10 empty] | 22 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 121 | A82:A89 | I82:I89 | J82:J89
SIZE 08 | [9 empty] | 23 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 122 | A93:A100 | I93:I100 | J93:J100
1ROW | CFM | [8 empty] | 24 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 123
GPM | 150 | 350 | 500 | 650 | 800 | 950 | 1100 | SLOPE | INTERCEPT | 25 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 124
0.5 | 6900 | 9600 | 10700 | 11500 | 12100 | 12600 | 13000 | 3068.177 | -8417.1088 | 26 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 141 | A108:A115 | I108:I115 | J108:J115
1 | 7800 | 11400 | 13100 | 14400 | 15300 | 16100 | 16800 | 4539.482 | -15044.3749 | 27 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 142 | A119:A126 | I119:I126 | J119:J126
1.5 | 8100 | 12300 | 14200 | 15700 | 16900 | 17900 | 18700 | 5346.5563 | -18858.0086 | 28 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 143
2 | 8300 | 12700 | 14800 | 16500 | 17800 | 18900 | 19800 | 5812.9861 | -21082.5165 | 29 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 144
2.5 | 8400 | 13000 | 15200 | 17000 | 18400 | 19600 | 20600 | 6154.737 | -22750.042 | 30 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 161 | A134:A141 | I134:I141 | J134:J141
3 | 8500 | 13200 | 15500 | 17300 | 18800 | 20100 | 21200 | 6387.3504 | -23872.7919 | 31 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 162 | A145:A152 | I145:I152 | J145:J152
4 | 8600 | 13500 | 15900 | 17800 | 19400 | 20700 | 21900 | 6684.9251 | -25290.5516 | 32 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 163
4.5 | 8700 | 13600 | 16100 | 18000 | 19600 | 21000 | 22200 | 6789.9311 | -25752.1536 | 33 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 164
[10 empty] | 34 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 181 | A160:A167 | I160:I167 | J160:J167
2ROW | CFM | [8 empty] | 35 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 182 | A171:A178 | I171:I178 | J171:J178
GPM | 150 | 350 | 500 | 650 | 800 | 950 | 1100 | SLOPE | INTERCEPT | 36 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 183
0.6 | 10200 | 14700 | 16400 | 17700 | 18500 | 19200 | 19800 | 4820.581 | -13729.7564 | 37 |  | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | 184
1 | 11400 | 17500 | 20200 | 22100 | 23600 | 24700 | 25700 | 7215.5403 | -24719.4671 | 38 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
2 | 12500 | 20500 | 24400 | 27300 | 29700 | 31600 | 33200 | 10464.7639 | -40334.4234 | 39 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
3 | 12900 | 21800 | 26200 | 29700 | 32500 | 34900 | 36900 | 12109.76 | -48456.0494 | 40 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
4 | 13200 | 22500 | 27300 | 31100 | 34200 | 36800 | 39100 | 13061.0897 | -53121.4373 | 41 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
5 | 13300 | 23000 | 28000 | 32000 | 35300 | 38100 | 40500 | 13719.9298 | -56415.391 | 42 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
6 | 13400 | 23300 | 28500 | 32600 | 36100 | 39000 | 41600 | 14204.8296 | -58856.271 | 43 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
7 | 13500 | 23500 | 28800 | 33100 | 36700 | 39700 | 42400 | 14565.1414 | -60669.3132 | 44 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 45 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 46 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 47 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 48 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
SIZE 10 | [9 empty] | 49 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
1ROW | CFM | [8 empty] | 50 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
GPM | 200 | 400 | 600 | 800 | 1000 | 1400 | 1600 | SLOPE | INTERCEPT | 51 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
1 | 9900 | 13400 | 15500 | 17000 | 18100 | 19700 | 20300 | 5027.7322 | -16696.8948 | 52 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
2 | 11000 | 15400 | 18300 | 20500 | 22100 | 24600 | 25600 | 7079.4801 | -26779.3826 | 53 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
3 | 11400 | 16300 | 19600 | 22000 | 23900 | 26900 | 28100 | 8084.6496 | -31842.0037 | 54 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
4 | 11600 | 16800 | 20300 | 22900 | 25000 | 28300 | 29600 | 8720.8991 | -35114.0793 | 55 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
5 | 11800 | 17100 | 20700 | 23500 | 25700 | 29200 | 30600 | 9117.395 | -37128.3059 | 56 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
6 | 11900 | 17300 | 21000 | 23900 | 26200 | 29900 | 31300 | 9426.6232 | -38741.7206 | 57 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
7 | 11900 | 17500 | 21300 | 24200 | 26600 | 30400 | 31900 | 9691.8968 | -40152.6264 | 58 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
8 | 12000 | 17600 | 21400 | 24400 | 26900 | 30700 | 32300 | 9836.9522 | -40889.5116 | 59 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 60 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
2ROW | CFM | [8 empty] | 61 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
GPM | 200 | 400 | 600 | 800 | 1000 | 1400 | 1600 | SLOPE | INTERCEPT | 62 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
1 | 14500 | 20400 | 23800 | 26100 | 27700 | 30000 | 30900 | 7893.1294 | -26986.1495 | 63 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
2 | 16400 | 24500 | 29800 | 33600 | 36500 | 40800 | 42500 | 12652.4273 | -50951.4122 | 64 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
3 | 17200 | 26300 | 32500 | 37200 | 40900 | 46400 | 48600 | 15263.133 | -64499.1516 | 65 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
4 | 17600 | 27300 | 34200 | 39400 | 43500 | 49900 | 52500 | 16959.3589 | -73436.0909 | 66 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
5 | 17900 | 28000 | 35200 | 40800 | 45300 | 52300 | 55100 | 18096.7787 | -79437.3448 | 67 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
6 | 18000 | 28500 | 36000 | 41800 | 46600 | 54000 | 57100 | 18984.662 | -84202.3152 | 68 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
7 | 18200 | 28800 | 36500 | 42600 | 47600 | 55400 | 58600 | 19651.2264 | -87758.8884 | 69 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
8 | 18300 | 29100 | 37000 | 43200 | 48300 | 56400 | 59700 | 20128.7808 | -90276.0677 | 70 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 71 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 72 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 73 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 74 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
SIZE 12 | [9 empty] | 75 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
1ROW | CFM | [8 empty] | 76 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
GPM | 400 | 600 | 800 | 1200 | 1600 | 2000 | 2500 | SLOPE | INTERCEPT | 77 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
2 | 17900 | 21500 | 24100 | 27900 | 30700 | 32800 | 34800 | 9286.158 | -37857.7234 | 78 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
3 | 18800 | 22900 | 25900 | 30500 | 33800 | 36300 | 38900 | 11027.9016 | -47555.7021 | 79 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
4 | 19400 | 23700 | 27000 | 31900 | 35600 | 38500 | 41400 | 12077.8452 | -53414.4622 | 80 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
5 | 19700 | 24200 | 27700 | 32900 | 36800 | 39900 | 43000 | 12793.2834 | -57461.89 | 81 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
6 | 20000 | 24600 | 28100 | 33600 | 37600 | 40900 | 44200 | 13283.1703 | -60202.9899 | 82 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
7 | 20100 | 24800 | 28500 | 34100 | 38300 | 41700 | 45100 | 13733.1001 | -62836.0142 | 83 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
9 | 20400 | 25200 | 29000 | 34800 | 39200 | 42800 | 46400 | 14279.401 | -65914.593 | 84 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
10 | 20400 | 25300 | 29100 | 35000 | 39400 | 43000 | 46700 | 14419.6026 | -66738.1765 | 85 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 86 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
2ROW | CFM | [8 empty] | 87 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
GPM | 400 | 600 | 800 | 1200 | 1600 | 2000 | 2500 | SLOPE | INTERCEPT | 88 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
2 | 28100 | 34800 | 39800 | 46900 | 51900 | 55500 | 59100 | 17051.8944 | -74122.7835 | 89 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
3 | 29900 | 37700 | 43800 | 52700 | 59100 | 64000 | 68800 | 21436.7696 | -99095.4801 | 90 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
4 | 30900 | 39400 | 46000 | 56100 | 63400 | 69200 | 75000 | 24264.8586 | -115449.7107 | 91 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
5 | 31500 | 40500 | 47500 | 58300 | 66400 | 72800 | 79200 | 26246.5498 | -126997.5783 | 92 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
6 | 32000 | 41200 | 48600 | 59900 | 68500 | 75400 | 82300 | 27683.4684 | -135377.5576 | 93 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
7 | 32300 | 41800 | 49400 | 61100 | 70100 | 77300 | 84700 | 28790.965 | -141867.4788 | 94 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
9 | 32800 | 42500 | 50400 | 62900 | 72400 | 80100 | 88100 | 30413.729 | -151433.1817 | 95 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
10 | 32900 | 42800 | 50800 | 63500 | 73200 | 81200 | 89300 | 31020.2838 | -155033.2437 | 96 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 97 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 98 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 99 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | 100 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A
SIZE 14
1ROW | CFM
GPM | 500 | 800 | 1200 | 1700 | 2200 | 2700 | 3400 | SLOPE | INTERCEPT
1 | 20000 | 23800 | 26900 | 29500 | 31200 | 32500 | 33900 | 7270.729 | -24877.7921
2 | 23400 | 28900 | 33800 | 38100 | 41200 | 43600 | 46300 | 12004.8117 | -51260.4738
3 | 24800 | 31100 | 36900 | 42200 | 46100 | 49200 | 52700 | 14637.6545 | -66544.3078
4 | 25600 | 32400 | 38800 | 44600 | 49000 | 52600 | 56600 | 16251.7406 | -75968.7197
5 | 26100 | 33200 | 40000 | 46200 | 51000 | 54800 | 59200 | 17355.6828 | -82479.2544
6 | 26400 | 33700 | 40800 | 47300 | 52400 | 56500 | 61200 | 18249.0739 | -87893.9262
8 | 26900 | 34500 | 41900 | 48900 | 54300 | 58700 | 63800 | 19347.0014 | -94389.0766
10 | 27200 | 35000 | 42600 | 49800 | 55500 | 60100 | 65500 | 20061.252 | -98651.721
2ROW | CFM
GPM | 500 | 800 | 1200 | 1700 | 2200 | 2700 | 3400 | SLOPE | INTERCEPT
1.5 | 32300 | 40000 | 46400 | 51500 | 55000 | 57500 | 60100 | 14588.5949 | -57642.9202
3 | 37600 | 48800 | 59100 | 68100 | 74700 | 79800 | 85200 | 25069.2413 | -118450.415
4 | 39100 | 51600 | 63400 | 74000 | 81900 | 88200 | 95000 | 29413.667 | -144499.7446
5 | 40200 | 53400 | 66300 | 78000 | 87000 | 94100 | 102000 | 32526.3579 | -163276.0529
6 | 40900 | 54700 | 68300 | 81000 | 90700 | 98500 | 107200 | 34896.7471 | -177699.0032
7 | 41400 | 55700 | 69900 | 83200 | 93500 | 101800 | 111300 | 36730.3267 | -188884.6295
9 | 42100 | 57000 | 72100 | 86400 | 97600 | 106800 | 117300 | 39507.9969 | -205969.7287
10 | 42400 | 57500 | 72900 | 87600 | 99100 | 108600 | 119500 | 40498.8848 | -212025.4842
SIZE 16
1ROW | CFM
GPM | 600 | 1000 | 1500 | 2000 | 2500 | 3500 | 4400 | SLOPE | INTERCEPT
2 | 27500 | 34300 | 39900 | 43800 | 46800 | 51200 | 54000 | 13380.4499 | -58030.6309
3 | 29300 | 37300 | 44000 | 49000 | 52800 | 58600 | 62400 | 16717.778 | -77976.2305
4 | 30400 | 39000 | 46500 | 52100 | 56400 | 63100 | 67600 | 18790.6607 | -90450.3112
5 | 31000 | 40100 | 48100 | 54100 | 58900 | 66200 | 71200 | 20304.7804 | -99754.8385
6 | 31500 | 40900 | 49300 | 55600 | 60600 | 68400 | 73800 | 21350.8241 | -106114.0241
7 | 31800 | 41500 | 50100 | 56700 | 62000 | 70200 | 75800 | 22230.9135 | -111583.4964
8 | 32100 | 41900 | 50800 | 57500 | 63000 | 71500 | 77400 | 22878.7726 | -115579.5934
10 | 32500 | 42600 | 51800 | 58800 | 64500 | 73500 | 79800 | 23866.3232 | -121670.7338
2ROW | CFM
GPM | 600 | 1000 | 1500 | 2000 | 2500 | 3500 | 4400 | SLOPE | INTERCEPT
2 | 40400 | 51500 | 60200 | 66000 | 70300 | 76100 | 79700 | 19837.6027 | -85587.6744
3 | 44100 | 57900 | 69500 | 77700 | 83900 | 92800 | 98400 | 27508.2469 | -131776.2646
4 | 46200 | 61800 | 75300 | 85100 | 92700 | 103900 | 111300 | 32945.243 | -165197.1903
5 | 47500 | 64300 | 79200 | 90200 | 98900 | 111900 | 120600 | 37006.5696 | -190525.2271
6 | 48500 | 66100 | 82000 | 94000 | 103500 | 117900 | 127600 | 40068.4222 | -209672.5403
7 | 49200 | 67500 | 84100 | 96800 | 107000 | 122600 | 133200 | 42525.4281 | -225161.205
9 | 50200 | 69400 | 87200 | 100900 | 112100 | 129400 | 141400 | 46141.1213 | -248012.5173
10 | 50500 | 70100 | 88300 | 102500 | 114000 | 132000 | 144500 | 47551.2438 | -256992.8306
SIZE 18
1ROW | CFM
GPM | 1500 | 2000 | 3000 | 4000 | 5000 | 6000 | 8000 | SLOPE | INTERCEPT
2 | 48600 | 53700 | 60600 | 65200 | 68700 | 71300 | 75200 | 15991.8156 | -67846.4549
3 | 54100 | 60600 | 69900 | 76300 | 81200 | 85100 | 91000 | 22159.4521 | -107737.3251
4 | 57400 | 64800 | 75600 | 83300 | 89200 | 94000 | 101300 | 26359.763 | -135419.5139
5 | 59500 | 67600 | 79400 | 88000 | 94700 | 100200 | 108700 | 29481.684 | -156384.635
6 | 61000 | 69500 | 82200 | 91500 | 98800 | 104800 | 114200 | 31879.8681 | -172641.7779
7 | 62200 | 71000 | 84300 | 94100 | 101900 | 108300 | 118400 | 33668.0632 | -184709.6895
8 | 63000 | 72200 | 85900 | 96200 | 104400 | 111100 | 121800 | 35190 | -195136.4392
10 | 64300 | 73900 | 88400 | 99300 | 108000 | 115300 | 126900 | 37426.5697 | -210410.7753
2ROW | CFM
GPM | 1500 | 2000 | 3000 | 4000 | 5000 | 6000 | 8000 | SLOPE | INTERCEPT
2 | 69300 | 76300 | 85200 | 90700 | 94400 | 97100 | 100800 | 18990.4795 | -68086.2572
3 | 80800 | 91000 | 104800 | 113800 | 120200 | 125100 | 132100 | 30916.1871 | -143908.4835
4 | 87900 | 100300 | 117800 | 129700 | 138500 | 145300 | 155200 | 40589.5046 | -207983.747
5 | 92600 | 106700 | 127000 | 141300 | 152000 | 160400 | 173000 | 48426.1388 | -261079.0823
6 | 96100 | 111400 | 134000 | 150100 | 162400 | 172200 | 187000 | 54722.0531 | -304122.1697
7 | 98700 | 115000 | 139400 | 157000 | 170600 | 181600 | 198400 | 59943.807 | -340168.5961
8 | 100800 | 117900 | 143600 | 162500 | 177300 | 189200 | 207700 | 64221.5669 | -369786.071
10 | 103800 | 122100 | 150100 | 171000 | 187500 | 201000 | 222200 | 71047.5343 | -417391.2756