## Sheet1
| REV BY: | [17 empty] | SIEMENS BUILDING TECHNOLOGIES, INC. | [27 empty] | Error
| REV DATE: | [45 empty] | Show Sub check out columns?
| JOB NUMBER: | [45 empty] | Show TEC p/n column?
| JOB NAME: | [45 empty] | Show AUX Point Column?
[34 empty] | <-----------------------COMPLETED BY SUBCONTRACTOR PERSONNEL----------------------> | [12 empty] | Show Wireless Column?
BOX ID # |  |  | TEC ADDRESS | [6 empty] | AZM Y/N | 2nd VLV Y/N |  |  | FCU | FCU | ELEC | BOX SIZE |  | CFM |  |  |  |  | Exhaust |  | Tracking | Volume | Tracking |  |  |  |  | Wireless | [6 empty] | COMMUNICATION |  | CHK |  | TEC |  | PTEC | Show Sensor Type Column?
| Apogee | DESCRIPTION | [5 empty] | Device |  |  |  | BB | 3W-NC | HWV | CWV | HTG |  |  | COOLING |  | HEATING |  | AHU | Box Size |  | Mode | Offset |  |  | Drawing | CP/XFMR | AUX | FLN |  | DAMP | RAD | HW | FLOW | TO | TO | CHK'D | OUT | COMMENTS/ | PART | SENSOR | CODE APPLICATION | Show the CP/XFMR Column? |  | VALVE EXISTS
| POINT NAME | (FLOOR/ROOM) | BLN | PNL | LAN | ADD | NET | Instance # | APPL # |  |  | Qty. | VLV Y/N | Y/N | Y/N | STAGES |  | Height | MIN/Unocc | MAX/Occ | MIN | MAX |  |  | Height |  |  |  | BOX TYPE | Number | Number | point | CH / ID | FAN | OPER | VLVS | VLV | SNSR | FLN | STAT | BY: | DATE | PROBLEMS | # | TYPE | NUMBER | Show Baseboard Qty Column? |  | TEST
FC-503 CHW VLV | AHU.1.FC-503 CHW VLV | [7 empty] | 2051 | N | N |  | N | [9 empty] | 1 | [5 empty] | REHEAT |  | 03 / 2 | [12 empty] | 540-110 |  |  | Show PTEC code appication number Column? | Full Featured | TRUE
FC-506 CHW VLV | AHU.1.FC-506 CHW VLV | [7 empty] | 2051 | N | N |  | N | [9 empty] | 1 | [5 empty] | REHEAT |  | 03 / 2 | [12 empty] | 540-110 |  |  | Show HW Coil GPM on FLN Layout page? | Flush | TRUE
FC-507A CHW VLV | AHU.1.FC-507A CHW VLV | [7 empty] | 2051 | N | N |  | N | [9 empty] | 1 | [5 empty] | REHEAT |  | 03 / 2 | [12 empty] | 540-110 |  |  |  | Sensing Only | TRUE
FC-507B CHW VLV | AHU.1.FC-507B CHW VLV | [7 empty] | 2051 | N | N |  | N | [9 empty] | 1 | [5 empty] | REHEAT |  | 03 / 2 | [12 empty] | 540-110 |  |  |  | Sensing w/ Override | TRUE
FC-512 CHW VLV | AHU.1.FC-512 CHW VLV | [7 empty] | 2051 | N | N |  | N | [9 empty] | 1 | [5 empty] | REHEAT |  | 03 / 2 | [12 empty] | 540-110 |  |  |  | Sensing w/ Setpoint | TRUE
FC-514 CHW VLV | AHU.1.FC-514 CHW VLV | [7 empty] | 2051 | N | N |  | N | [9 empty] | 1 | [5 empty] | REHEAT |  | 03 / 2 | [12 empty] | 540-110 |  |  |  | Sensing w/ Display | TRUE
FC-515 CHW VLV | AHU.1.FC-515 CHW VLV | [7 empty] | 2051 | N | N |  | N | [9 empty] | 1 | [5 empty] | REHEAT |  | 03 / 2 | [12 empty] | 540-110 |  |  |  |  | TRUE
FC-503 HW VLV | AHU.1.FC-503 HW VLV | [7 empty] | 2051 | N | N |  | N | [9 empty] | 1 | [5 empty] | REHEAT |  | 03 / 2 | [12 empty] | 540-110 |  |  |  |  | TRUE
FC-506 HW VLV | AHU.1.FC-506 HW VLV | [7 empty] | 2051 | N | N |  | N | [9 empty] | 1 | [5 empty] | REHEAT |  | 03 / 2 | [12 empty] | 540-110 |  |  |  |  | TRUE
FC-507A HW VLV | AHU.1.FC-507A HW VLV | [7 empty] | 2051 | N | N |  | N | [9 empty] | 1 | [5 empty] | REHEAT |  | 03 / 3 | [12 empty] | 540-110 |  |  |  |  | TRUE
FC-507B HW VLV | AHU.1.FC-507B HW VLV | [7 empty] | 2051 | N | N |  | N | [9 empty] | 1 | [5 empty] | REHEAT |  | 03 / 3 | [12 empty] | 540-110 |  |  |  |  | TRUE
FC-512 HW VLV | AHU.1.FC-512 HW VLV | [7 empty] | 2051 | N | N |  | N | [9 empty] | 1 | [5 empty] | REHEAT |  | 03 / 3 | [12 empty] | 540-110 |  |  |  |  | TRUE
FC-514 HW VLV | AHU.1.FC-514 HW VLV | [7 empty] | 2051 | N | N |  | N | [9 empty] | 1 | [5 empty] | REHEAT |  | 03 / 3 | [12 empty] | 540-110 |  |  |  |  | TRUE
FC-515 HW VLV | AHU.1.FC-515 HW VLV | [7 empty] | 2051 | N | N |  | Y |  |  |  | 16 |  | 700 | 3500 | 700 | 3500 | 1 | [5 empty] | REHEAT | 029 | 03 / 3 | [12 empty] | 540-110 |  |  |  |  | TRUE
VAVEF13 | AHU.1.VAVEF13 | Room 223A | 1 | 1 | 1 | 15 |  |  | 6523 | N | N |  | Y |  |  |  | 10 |  | 230 | 1140 | 230 | 1140 | 1 | [5 empty] | REHEAT | 029 | 03 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
VAVEF14 | AHU.1.VAVEF14 | 226C | 1 | 1 | 1 | 16 |  |  | 6523 | N | N |  | Y |  |  |  | 8 |  | 130 | 655 |  |  | 1 | [5 empty] | REHEAT | 029 | 03 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
VAVEF15 | AHU.1.VAVEF15 | 233C | 1 | 1 | 1 | 17 |  |  | 6523 | N | N |  | Y |  |  |  | 14 |  | 955 | 1770 |  |  | 1 | [5 empty] | REHEAT | 029 | 03 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V1-109 | AHU.1.VAV1-109 | 1524 | 1 | 1 | 1 | 18 |  |  | 6523 | N | N |  | Y |  |  |  | 4 |  | 80 | 100 | 80 | 100 | 1 | [5 empty] | REHEAT | 029 | 03 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-1 | AHU.4.VAV4-1 | 1000 | 1 | 1 | 1 | 19 |  |  | 6523 | N | N |  | Y |  |  |  | 4 |  | 65 | 125 | 65 | 125 | 4 | [5 empty] | REHEAT | 030 | 03 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-2 | AHU.4.VAV4-2 | 1002 | 1 | 1 | 1 | 20 |  |  | 6523 | N | N |  | Y |  |  |  | 10 |  | 200 | 200 | 200 | 200 | 4 | [5 empty] | REHEAT | 030 | 03 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-3 | AHU.4.VAV4-3 | 1256 | 1 | 1 | 1 | 21 |  |  | 6523 | N | N |  | Y |  |  |  | 8 |  | 580 | 600 | 580 | 600 | 4 | [5 empty] | REHEAT | 030 | 03 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-4 | AHU.4.VAV4-4 | 1221 | 1 | 1 | 1 | 22 |  |  | 6523 | N | N |  | Y |  |  |  | 5 |  | 205 | 250 | 205 | 250 | 4 | [5 empty] | REHEAT | 030 | 03 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-5 | AHU.4.VAV4-5 | 1223 | 1 | 1 | 1 | 23 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 175 | 200 | 175 | 200 | 4 | [5 empty] | REHEAT | 030 | 03 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-6 | AHU.4.VAV4-6 | 1216 | 1 | 1 | 1 | 24 |  |  | 6523 | N | N |  | N |  |  |  | 12 |  | 205 | 250 | 205 | 250 | 4 | [5 empty] | REHEAT | 030 | 03 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-7 | AHU.4.VAV4-7 | 1218 | 1 | 1 | 1 | 25 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 175 | 200 | 175 | 200 | 4 | [5 empty] | REHEAT | 029 | 03 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-9 | AHU.4.VAV4-9 | 1201 | 1 | 1 | 1 | 26 |  |  | 6523 | N | N |  | N |  |  |  | 8 |  | 265 | 525 | 265 | 525 | 4 | [5 empty] | REHEAT | 029 | 03 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-10 | AHU.4.VAV4-10 | 1205 | 1 | 1 | 1 | 27 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 190 | 225 | 190 | 225 | 4 | [5 empty] | REHEAT | 029 | 03 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-11 | AHU.4.VAV4-11 | 1247 | 1 | 1 | 1 | 28 |  |  | 6523 | N | N |  | N |  |  |  | 8 |  | 640 | 650 | 640 | 650 | 4 | [5 empty] | REHEAT | 029 | 03 / 5 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-12 | AHU.4.VAV4-12 | 1250 | 1 | 1 | 1 | 29 |  |  | 6523 | N | N |  | N |  |  |  | 8 |  | 320 | 640 | 320 | 640 | 4 | [5 empty] | REHEAT | 029 | 03 / 5 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-13 | AHU.4.VAV4-13 | 1207 | 1 | 1 | 1 | 30 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 200 | 225 | 200 | 225 | 4 | [5 empty] | REHEAT | 029 | 03 / 5 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-14 | AHU.4.VAV4-14 | 1209 | 1 | 1 | 1 | 31 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 140 | 175 | 140 | 175 | 4 | [5 empty] | REHEAT | 029 | 03 / 5 | [12 empty] | 540-502 |  |  |  |  | TRUE
V4-15 | AHU.4.VAV4-15 | 1251 | 1 | 1 | 1 | 32 |  |  | 6523 | N | N |  | N |  |  |  | 8 |  | 425 | 850 | 425 | 850 | 4 | [5 empty] | REHEAT | 029 | 03 / 5 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-36 | AHU.14.VAV14-36 | 1081 | 1 | 2 | 1 | 1 |  |  | 6523 | N | N |  | N |  |  |  | 6 |  | 240 | 475 | 240 | 475 | 14 | [5 empty] | REHEAT | 030 | 04 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-37 | AHU.14.VAV14-37 | 1059A | 1 | 2 | 1 | 2 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 135 | 250 | 135 | 250 | 14 | [5 empty] | REHEAT | 030 | 04 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-38 | AHU.14.VAV14-38 | 1083 | 1 | 2 | 1 | 3 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 75 | 150 | 75 | 150 | 14 | [5 empty] | REHEAT | 030 | 04 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-39 | AHU.14.VAV14-39 | 1085 | 1 | 2 | 1 | 4 |  |  | 6523 | N | N |  | N |  |  |  | 8 |  | 375 | 750 | 375 | 750 | 14 | [5 empty] | REHEAT | 030 | 04 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-40 | AHU.14.VAV14-40 | 1059 | 1 | 2 | 1 | 5 |  |  | 6523 | N | N |  | N |  |  |  | 6 |  | 225 | 400 | 225 | 400 | 14 | [5 empty] | REHEAT | 030 | 04 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-41 | AHU.14.VAV14-41 | 1087 | 1 | 2 | 1 | 6 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 220 | 225 | 220 | 225 | 14 | [5 empty] | REHEAT | 030 | 04 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-42 | AHU.14.VAV14-42 | 1101 | 1 | 2 | 1 | 7 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 100 | 100 | 100 | 100 | 14 | [5 empty] | REHEAT | 030 | 04 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-43 | AHU.14.VAV14-43 | 1089 | 1 | 2 | 1 | 8 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 235 | 250 | 235 | 250 | 14 | [5 empty] | REHEAT | 030 | 04 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-44 | AHU.14.VAV14-44 | 1102 | 1 | 2 | 1 | 9 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 115 | 225 | 115 | 225 | 14 | [5 empty] | REHEAT | 030 | 04 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-45 | AHU.14.VAV14-45 | 1092 | 1 | 2 | 1 | 10 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 240 | 250 | 240 | 250 | 14 | [5 empty] | REHEAT | 030 | 04 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-46 | AHU.14.VAV14-46 | 1094 | 1 | 2 | 1 | 11 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 220 | 225 | 220 | 225 | 14 | [5 empty] | REHEAT | 030 | 04 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-47 | AHU.14.VAV14-47 | 1103 | 1 | 2 | 1 | 12 |  |  | 6523 | N | N |  | N |  |  |  | 8 |  | 255 | 875 | 255 | 875 | 14 | [5 empty] | REHEAT | 030 | 04 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-48 | AHU.14.VAV14-48 | 1111 | 1 | 2 | 1 | 13 |  |  | 6523 | N | N |  | N |  |  |  | 8 |  | 525 | 750 | 525 | 750 | 14 | [5 empty] | REHEAT | 030 | 04 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-49 | AHU.14.VAV14-49 | 1105 | 1 | 2 | 1 | 14 |  |  | 6523 | N | N |  | N |  |  |  | 8 |  | 275 | 550 | 275 | 550 | 14 | [5 empty] | REHEAT | 030 | 04 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-50 | AHU.14.VAV14-50 | 1096 | 1 | 2 | 1 | 15 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 240 | 250 | 240 | 250 | 14 | [5 empty] | REHEAT | 030 | 04 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-51 | AHU.14.VAV14-51 | 1106 | 1 | 2 | 1 | 16 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 50 | 50 | 50 | 50 | 14 | [5 empty] | REHEAT | 030 | 04 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-52 | AHU.14.VAV14-52 | 1088 | 1 | 2 | 1 | 17 |  |  | 6523 | N | N |  | N |  |  |  | 6 |  | 425 | 425 | 425 | 425 | 14 | [5 empty] | REHEAT | 030 | 04 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-53 | AHU.14.VAV14-53 | 1091 | 1 | 2 | 1 | 18 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 225 | 225 | 225 | 225 | 14 | [5 empty] | REHEAT | 030 | 04 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-54 | AHU.14.VAV14-54 | 1093 | 1 | 2 | 1 | 19 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 250 | 250 | 250 | 250 | 14 | [5 empty] | REHEAT | 030 | 04 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-55 | AHU.14.VAV14-55 | 1095 | 1 | 2 | 1 | 20 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 230 | 250 | 230 | 250 | 14 | [5 empty] | REHEAT | 030 | 04 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-56 | AHU.14.VAV14-56 | 1097 | 1 | 2 | 1 | 21 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 225 | 225 | 225 | 225 | 14 | [5 empty] | REHEAT | 030 | 04 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-57 | AHU.14.VAV14-57 | 1108 | 1 | 2 | 1 | 22 |  |  | 6523 | N | N |  | N |  |  |  | 8 |  | 480 | 800 | 480 | 800 | 14 | [5 empty] | REHEAT | 030 | 04 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-60 | AHU.14.VAV14-60 | 1098 | 1 | 2 | 1 | 23 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 50 | 100 |  |  | 14 | [5 empty] | REHEAT | 030 | 04 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V14-61 | AHU.14.VAV14-61 | 1100 | 1 | 2 | 1 | 24 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 150 | 300 |  |  | 14 | [5 empty] | REHEAT | 030 | 04 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-31 | AHU.14.VAV15-31 | 2120 | 1 | 2 | 1 | 25 |  |  | 6523 | N | N |  | N |  |  |  | 6 |  | 230 | 375 | 230 | 375 | 14 | [5 empty] | REHEAT | 030 | 04 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-32 | AHU.14.VAV15-32 | 2117 | 1 | 2 | 1 | 26 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 215 | 250 | 215 | 250 | 14 | [5 empty] | REHEAT | 030 | 04 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-33 | AHU.14.VAV15-33 | 2112 | 1 | 2 | 1 | 27 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 255 | 300 | 255 | 300 | 14 | [5 empty] | REHEAT | 030 | 04 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-34 | AHU.14.VAV15-34 | 2114 | 1 | 2 | 1 | 28 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 245 | 275 | 245 | 275 | 14 | [5 empty] | REHEAT | 030 | 04 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-35 | AHU.14.VAV15-35 | 2111 | 1 | 2 | 1 | 29 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 255 | 300 | 255 | 300 | 14 | [5 empty] | REHEAT | 030 | 04 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-36 | AHU.14.VAV15-36 | 2107 | 1 | 2 | 1 | 30 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 255 | 300 | 255 | 300 | 14 | [5 empty] | REHEAT | 030 | 04 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-37 | AHU.14.VAV15-37 | 2105 | 1 | 2 | 1 | 31 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 280 | 300 | 280 | 300 | 14 | [5 empty] | REHEAT | 030 | 04 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-38 | AHU.14.VAV15-38 | 2103 | 1 | 2 | 1 | 32 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 265 | 300 | 265 | 300 | 14 | [5 empty] | REHEAT | 030 | 04 / 4 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-39 | AHU.14.VAV15-39 | 2098 | 1 | 3 | 1 | 1 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 265 | 275 | 265 | 275 | 14 | [5 empty] | REHEAT | 030 | 05 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-40 | AHU.14.VAV15-40 | 2102 | 1 | 3 | 1 | 2 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 280 | 300 | 280 | 300 | 14 | [5 empty] | REHEAT | 030 | 05 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-41 | AHU.14.VAV15-41 | 2096 | 1 | 3 | 1 | 3 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 255 | 300 | 255 | 300 | 14 | [5 empty] | REHEAT | 030 | 05 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-42 | AHU.14.VAV15-42 | 2094 | 1 | 3 | 1 | 4 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 300 | 300 | 300 | 300 | 14 | [5 empty] | REHEAT | 030 | 05 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-43 | AHU.14.VAV15-43 | 2110 | 1 | 3 | 1 | 5 |  |  | 6523 | N | N |  | N |  |  |  | 8 |  | 555 | 700 | 555 | 700 | 14 | [5 empty] | REHEAT | 030 | 05 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-44 | AHU.14.VAV15-44 | 2059 | 1 | 3 | 1 | 6 |  |  | 6523 | N | N |  | N |  |  |  | 8 |  | 750 | 900 | 750 | 900 | 14 | [5 empty] | REHEAT | 030 | 05 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-45 | AHU.14.VAV15-45 | 2089 | 1 | 3 | 1 | 7 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 290 | 300 | 290 | 300 | 14 | [5 empty] | REHEAT | 030 | 05 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-46 | AHU.14.VAV15-46 | 2092 | 1 | 3 | 1 | 8 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 255 | 300 | 255 | 300 | 14 | [5 empty] | REHEAT | 030 | 05 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-47 | AHU.14.VAV15-47 | 2087 | 1 | 3 | 1 | 9 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 280 | 300 | 280 | 300 | 14 | [5 empty] | REHEAT | 030 | 05 / 1 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-48 | AHU.14.VAV15-48 | 2085 | 1 | 3 | 1 | 10 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 265 | 300 | 265 | 300 | 14 | [5 empty] | REHEAT | 030 | 05 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-49 | AHU.14.VAV15-49 | 2081 | 1 | 3 | 1 | 11 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 280 | 300 | 280 | 300 | 14 | [5 empty] | REHEAT | 030 | 05 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-53 | AHU.14.VAV15-53 | 2119 | 1 | 3 | 1 | 12 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 50 | 100 |  |  | 14 | [5 empty] | REHEAT | 030 | 05 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-54 | AHU.14.VAV15-54 | 2121 | 1 | 3 | 1 | 13 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 50 | 100 |  |  | 14 | [5 empty] | REHEAT | 030 | 05 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V15-55 | AHU.14.VAV15-55 | 2119A | 1 | 3 | 1 | 14 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 100 | 200 |  |  | 14 | [5 empty] | REHEAT | 030 | 05 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V16-36 | AHU.14.VAV16-36 | 3083 | 1 | 3 | 1 | 15 |  |  | 6523 | N | N |  | N |  |  |  | 4 |  | 75 | 150 | 75 | 150 | 14 | [5 empty] | REHEAT | 030 | 05 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V16-37 | AHU.14.VAV16-37 | 3081 | 1 | 3 | 1 | 16 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 280 | 300 | 280 | 300 | 14 | [5 empty] | REHEAT | 030 | 05 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V16-38 | AHU.14.VAV16-38 | 3085 | 1 | 3 | 1 | 17 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 270 | 275 | 270 | 275 | 14 | [5 empty] | REHEAT | 030 | 05 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V16-39 | AHU.14.VAV16-39 | 3059 | 1 | 3 | 1 | 18 |  |  | 6523 | N | N |  | N |  |  |  | 8 |  | 660 | 800 | 660 | 800 | 14 | [5 empty] | REHEAT | 030 | 05 / 2 | [12 empty] | 540-502 |  |  |  |  | TRUE
V16-40 | AHU.14.VAV16-40 | 3087 | 1 | 3 | 1 | 19 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 280 | 300 | 280 | 300 | 14 | [5 empty] | REHEAT | 030 | 05 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V16-41 | AHU.14.VAV16-41 | 3089 | 1 | 3 | 1 | 20 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 255 | 275 | 255 | 275 | 14 | [5 empty] | REHEAT | 030 | 05 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V16-42 | AHU.14.VAV16-42 | 3092 | 1 | 3 | 1 | 21 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 275 | 275 | 275 | 275 | 14 | [5 empty] | REHEAT | 030 | 05 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V16-43 | AHU.14.VAV16-43 | 3096 | 1 | 3 | 1 | 22 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 255 | 275 | 255 | 275 | 14 | [5 empty] | REHEAT | 030 | 05 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V16-44 | AHU.14.VAV16-44 | 3094 | 1 | 3 | 1 | 23 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 255 | 275 | 255 | 275 | 14 | [5 empty] | REHEAT | 030 | 05 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V16-45 | AHU.14.VAV16-45 | 3101 | 1 | 3 | 1 | 24 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 280 | 300 | 280 | 300 | 14 | [5 empty] | REHEAT | 030 | 05 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V16-46 | AHU.14.VAV16-46 | 3098 | 1 | 3 | 1 | 25 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 270 | 275 | 270 | 275 | 14 | [5 empty] | REHEAT | 030 | 05 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V16-47 | AHU.14.VAV16-47 | 3117 | 1 | 3 | 1 | 26 |  |  | 6523 | N | N |  | N |  |  |  | 5 |  | 250 | 250 | 250 | 250 | 14 | [5 empty] | REHEAT | 030 | 05 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE
V16-48 | AHU.14.VAV16-48 | 3110 | 1 | 3 | 1 | 27 |  |  | 6523 | N | N |  | N |  |  |  | 8 |  | 660 | 800 | 660 | 800 | 14 | [5 empty] | REHEAT | 030 | 05 / 3 | [12 empty] | 540-502 |  |  |  |  | TRUE