## Sheet1
DXR Parts requested | Reason | Part # | Price
Full functional VAV (flow cross, damper) |  | - | -
Chilled beam valve |  | - | -
Heating coil valve |  | - | -
Damper Actuator |  | - | -
Occupancy sensor | Switch | 710-471001264143 | 3.49 ea | OR | 471001264143
Transformer | Power and auxillary | PSH100A | 45
Extension cord | N/A with RIB Transformer | - | -
Supply air temp sensor | VAV Supply air | - | Can just grab one
Ethernet DXR | Ethernet net. Not necessary unless job requires |  | -
MSTP DXR | Set up mock BACnet Network | DXR2.M12P-102B | 134
RIBMNLB-2/4 | Safety interlocks or shutdowns |  | 10
Terminal Blocks | Wiring between DXR/PI and PXC24 | 651-3005015 | $5 each | mouser part 651-3005015
QMX3.P34 | Configuration with P34 (can use old job site one?) | QMX3.P34 | 61
QMX3.P74 | Configuration with P74 (can use old job site one?) | QMX3.P74 | 209
Relay for fan start | Fav start on Fan coil app (can grab an old one?) | RIBU1C | 8
Assembly Parts
Screws etc for assembly | Assembly | - | -
Generic tools |  | - | -
1 amp fuse | N/A if RIB PSH is used | Hopefully have some
Plastic wire dividers | Wire division. Not necessary initially | PXA-TIEBARKIT | 27.9
Wire | Wiring | - | -
DIN Rail | Device mounting | PXA-DIN16KIT | 15.39
Power strip (typical surge) | Power. May not need initially | - | 10
raspberry PI | I/O monitoring and flexibility. | I have one | 35
monitor | I/O Display and flexibility | - | -
ethernet wire to field panel
ethernet switch panel | For network setup/testing. Panel to desigo | 8 port | 15